## Analysis
center | row | min | max | rel cntr 1 |  | final cntrs | final cntrs | min | max
620 | 620 | 43 | 211 | 650 |  | 650 | 30 | 13 | 241
| 524 | 34 | 220 | 554 |  | 554 | 87 | 10 | 244
| 342 | 19 | 235 | 372 |  | 372 | 118 | 0 | 255
| 746 | 27 | 227 | 776 | 126 | 126 | 126 | 27 | 227
| 438 | 32 | 222 | 468 |  | 468 | 144 | 0 | 255
| 384 | 35 | 219 | 414 |  | 414 | 153 | 37 | 217
| 949 | 14 | 240 | 979 | 329 | 329 | 160 | 27 | 227
970 | 945 | 59 | 195 | 625 |  | 625 | 205 | 23 | 231
| 828 | 41 | 213 | 508 |  | 508 | 221 | 19 | 235
| 761 | 45 | 209 | 441 |  | 441 | 252 | 19 | 235
| 464 | 0 | 255 | 144 |  | 144 | 273 | 52 | 203
220 | 380 | 27 | 227 | 810 | 160 | 160 | 329 | 14 | 240
| 197 | 41 | 213 | 627 |  | 627 | 352 | 28 | 221
| 957 | 10 | 244 | 1387 | 87 | 87 | 372 | 19 | 235
| 572 | 28 | 221 | 1002 | 352 | 352 | 378 | 41 | 213
| 425 | 23 | 231 | 855 | 205 | 205 | 402 | 25 | 229
| 197 | 57 | 197 | 627 |  | 627 | 414 | 35 | 219
| 988 | 0 | 255 | 1418 | 118 | 118 | 441 | 45 | 209
1130 | 998 | 41 | 213 | 1028 | 378 | 378 | 468 | 32 | 222 | max = -0.0594x + 244.86 |  |  |  | 650 | 206.25
| 893 | 52 | 203 | 923 | 273 | 273 | 508 | 41 | 213 | min = 0.0588x + 9.2688 |  |  |  |  | 47.4888
| 650 | 13 | 241 | 680 | 30 | 30 | 554 | 34 | 220
500 | 653 | 37 | 217 | 803 | 153 | 153 | 562 | 34 | 220
| 412 | 34 | 220 | 562 |  | 562 | 625 | 59 | 195
| 721 | 19 | 235 | 871 | 221 | 221 | 627 | 41 | 213
430 | 682 | 19 | 235 | 902 | 252 | 252 | 627 | 57 | 197
| 182 | 25 | 229 | 402 |  | 402 | 650 | 43 | 211
[10 empty] | Adjustable EQN |  | slope =
[12 empty] | 0.066154 |  | 650 | 201.7
[10 empty] | 0 | 0 |  |  |  | 43
[10 empty] | 650 | 43
[10 empty] | center values only |  |  | Eqns from this data
[10 empty] | Min | max |  | PSI Row | Max. RGB | Min. RGB
[10 empty] | 43 | 212 |  | 0 | 255 | 0
[10 empty] | 51 | 213 |  | 325 | 223 | 23
[10 empty] | 40 | 216 |  | 650 | 214 | 44
[10 empty] | 42 | 215
[10 empty] | 44 | 214
[13 empty] | 650 | 209.37
44.395
All attempts to find eqns using histogram data itself to find the min and max contrast bombed out. The reason was that the histograms distributions float with the pixel values. Even using a restricted range of values did not work. Instead, a process which made more sense, but took quite a bit of manual labor and time, was to use ImageJ , note the center position from either the PSI centers csv file or from the image itself, and at various row regions of stack2, which is the normal output file of PSI removal, manually adjust the contrast by comparing against original nearby HBath frames showing minimal PSI shadow in the same row region I was analyzing on the stack2 image. The main problem was a red shift issue that caused difficulty in cleanly obtaining some of the data; this led to quite a bit of scatter. The min and max curves do seem to follow a straight line trend reasonably. Note that the correlations are in terms of PSI rows, and the data was taken on both sides of the PSI center, but all the data was converted to a single s0- 650 interval, assuming symmetrical effect. The lines would suggest such an assumption is pretty close to valid within the error limits, for the measurements. The largest change, which results in the shortest min-max spread is the peak iteself. In the analysis below the half PSI width is assumed to be 1300. This value is around +/- 10 from the actual moving average values, but is good enough, for the analysis needed .THIS DATA IS USELESS WHEN USING LUMCORRECTIO2. THE PEAKS NO LONGER ARE THE ORIGINAL PSI PEAKS, SEE SHEET2 FOR THE FINAL SOLUTION DATA. THERE MAY BE PROBLEMS WITH THIS DATA BECAUSE OF PSILightFactor issues early on.
The plot at left is basically the same data as in the first plot, but the trendlines were forced through to 0 at 0 PSI row for the min data and 255 for the maximum. In addition, a somewhat different trendline was procuced using the four points at the right for the min value. The reason for this is that I noticed the corrected areas seemed to be a little darker than desired, by using just the min value of the data set above. the 0.0661 slope did seem to help a bit. So the final equation was the one shows for the max contrast value on the plot at right and the slope value for min contrast adjustment.
Final sequence from black hills video. frame on the original video was chosen and an ROI established with a good range of contrast changes in an area minimally affected by a PSI. The frame was duplicated with Image|Duplicate..which generated an image of just the ROI. (choose one slice and make sure duplicate stack is not checked). The ROI plot profile was then generated (Analyze|Plot profile). The same was done for a stack2 frame as close as possible to the original image, but where the ROI fell on the PSI center. In addition, the "Live" button on the plot profile window was activated. Both plot profiles were brought forward and arranged below the stack2 ROI image. The stack2 ROI was clicked and Image|Adjust|BrightnessContrast chosen. The minimum and maximum of the sliders, were adjusted until they were close to the original.

## Final_Correction
Badlands 5760 data
F | min | max
5 | 39 | 215
18 | 56 | 198
46 | 25 | 229
8 | 44 | 210
| 45 | 209
| 41.8 | 212.2 | This is optimal data set
so: |  |  | center test
center | min | max | center | min | max
0 | 41.8 | 212.2 | 0 | 41.8 | 212.2
650 | 0 | 255 | 650 | 9 | 264
slope | -0.064308 | 0.065846 | slope | -0.050462 | 0.079692
intercept | 41.8 | 212.2 | intercept | 41.8 | 212.2
center | min | max
650 | 41.8 | 212.2
0 | 0 | 255
slope | 0.064308 | -0.065846
This is somewhat complicated. Two frames using stack2 using PSY_avi_processor 3.py were measured in following manner. Find where the PSI center was/is. If necessary, set ROI on right or left grey region; get plot profile to find the minimum. Hold the mouse at the PSI center position, and find the frame nearest that has a minimum in rgb value according to running values on status line. Use an ROI of 60 rows height and variable width, using Edit|Selection|Specify.. to set the Y position PSIcenter-30 rows. Duplicate ROI on the frame with the minimum rgb value (and of course highest contrast) using Image|duplicate.... . Click Analyze|Histogram. Go back to frame with the center to be analyzed and duplicate it. Get the histogram and click Live on histogram. Make sure both histograms are showing. Click again on frame of PSI center to be fixed and click Image|Adjust|Brightness/Contrast... Adjust the contrast slider until the two small image contrasts look as close to one another as the eye can discern. Monitor the histograms to see they are reasonable matching in width and to some extent distribution. We know the data appear linear, so it probably is good enough to just measure the center differences as the maximum affect. IN IMAGEJ WILL USE THE ADJUSTCONTRAST.PY TO FIND ALL THIS. The best results are not perfect, but seem to be the closest I can get
This seems to be the best data I can get. It is not perfect, but in general it seems to give a reasonable close set of data. Found the set by going to stack4 and altering the values to darken and doing Ctrl-M to record stepwise changes. New change expected should be aroud 10 rgb units.

## Badlands
Bdlands frames 5760-5810 region analysis
F4 @ 665 center on stack 4
center | Mean | std dev | min | max | Slice | cntr(665) - cntr | mean -mean(665)
665 | 130.889 | 35.064 | 56 | 245 | 4 | 0 | 0
930 | 134.401 | 33.978 | 65 | 241 | 5 | -265 | 3.512
1168 | 152.142 | 41.928 | 33 | 251 | 6 | -503 | 21.253
207 | 159.034 | 43.438 | 56 | 252 | 7 | 458 | 28.145
440 | 144.362 | 39.142 | 48 | 250 | 8 | 225 | 13.473
730 | 138.067 | 33.999 | 59 | 244 | 9 | -65 | 7.178
1010 | 148.469 | 36.328 | 64 | 250 | 10 | -345 | 17.58
1252 | 151.958 | 40.337 | 59 | 249 | 11 | -587 | 21.069
281 | 149.606 | 41.863 | 61 | 250 | 12 | 384 | 18.717
535 | 137.759 | 36.083 | 61 | 248 | 13 | 130 | 6.87
805 | 131.441 | 32.172 | 59 | 241 | 14 | -140 | 0.552
1038 | 155.61 | 38.846 | 61 | 254 | 15 | -373 | 24.721
87 | 150.45 | 41.279 | 69 | 250 | 16 | 578 | 19.561
295 | 138.939 | 40.833 | 55 | 253 | 17 | 370 | 8.05
605 | 129.278 | 34.6 | 45 | 242 | 18 | 60 | -1.611
865 | 131.675 | 33.194 | 60 | 244 | 19 | -200 | 0.786
1108 | 150.713 | 38.697 | 74 | 253 | 20 | -443 | 19.824
f6 @930 = F5 on stack 4
930 | 131.655 | 33.973 | 51 | 249 | 5 | 0 | 0
1168 | 144.008 | 37.511 | 62 | 251 | 6 | -238 | 12.353
207 | 142.314 | 38.685 | 56 | 250 | 7 | 723 | 10.659
440 | 144.47 | 41.604 | 49 | 251 | 8 | 490 | 12.815
730 | 129.067 | 37.502 | 37 | 246 | 9 | 200 | -2.588
1010 | 135.032 | 30.455 | 56 | 241 | 10 | -80 | 3.377
1252 | 148.107 | 38.606 | 70 | 252 | 11 | -322 | 16.452
281 | 140.443 | 38.642 | 51 | 251 | 12 | 649 | 8.788
535 | 135.205 | 38.51 | 48 | 251 | 13 | 395 | 3.55
805 | 122.012 | 32.623 | 48 | 230 | 14 | 125 | -9.643
1038 | 131.47 | 30.825 | 65 | 236 | 15 | -108 | -0.185
87 | 134.686 | 30.507 | 66 | 246 | 16 | 843 | 3.031
295 | 137.408 | 38.669 | 50 | 250 | 17 | 635 | 5.753
605 | 130.739 | 38.302 | 45 | 249 | 18 | 325 | -0.916
865 | 124.454 | 33.084 | 47 | 242 | 19 | 65 | -7.201
1108 | 132.824 | 32.303 | 67 | 247 | 20 | -178 | 1.169
F3 @ 930 ON STACK4
1170 | 199.496 | 45.141 | 86 | 255 | 1 | -1016 | 17.424
154 | 182.072 | 40.074 | 95 | 255 | 2 | 0 | 0
365 | 167.099 | 36.785 | 87 | 250 | 3 | -211 | -14.973
665 | 176.026 | 42.885 | 86 | 253 | 4 | -511 | -6.046
930 | 189.672 | 40.885 | 101 | 249 | 5 | -776 | 7.6
1168 | 185.717 | 44.812 | 81 | 255 | 6 | -1014 | 3.645
207 | 177.618 | 38.282 | 94 | 253 | 7 | -53 | -4.454
440 | 177.552 | 38.508 | 94 | 253 | 8 | -286 | -4.52
730 | 188.177 | 42.128 | 93 | 251 | 9 | -576 | 6.105
1010 | 197.622 | 38.662 | 106 | 251 | 10 | -856 | 15.55
1252 | 180.295 | 41.526 | 80 | 255 | 11 | -1098 | -1.777
281 | 170.233 | 33.282 | 88 | 247 | 12 | -127 | -11.839
535 | 179.392 | 38.872 | 95 | 254 | 13 | -381 | -2.68
805 | 192.989 | 40.059 | 96 | 249 | 14 | -651 | 10.917
1038 | 193.556 | 36.077 | 105 | 251 | 15 | -884 | 11.484
87 | 194.725 | 39.434 | 98 | 255 | 16 | 67 | 12.653
295 | 169.746 | 34.964 | 87 | 250 | 17 | -141 | -12.326
605 | 177.987 | 40.769 | 75 | 254 | 18 | -451 | -4.085
865 | 192.225 | 40.735 | 95 | 252 | 19 | -711 | 10.153
1108 | 192.422 | 44.321 | 78 | 255 | 20 | -954 | 10.35
f5 STACK2 @ 930 REDUX for rel error
930 | 128.116 | 37.657 | 47 | 249 | 5 | 0 | 0
1168 | 139.95 | 39.082 | 54 | 251 | 6 | -238 | 11.834
207 | 141.39 | 39.882 | 50 | 250 | 7 | 723 | 13.274
440 | 143.904 | 44.252 | 31 | 251 | 8 | 490 | 15.788
730 | 129.403 | 41.093 | 28 | 252 | 9 | 200 | 1.287
1010 | 131.663 | 33.892 | 57 | 248 | 10 | -80 | 3.547
1252 | 146.727 | 40.242 | 57 | 254 | 11 | -322 | 18.611
281 | 141.83 | 42.333 | 45 | 251 | 12 | 649 | 13.714
535 | 138.261 | 43.512 | 37 | 253 | 13 | 395 | 10.145
805 | 123.474 | 38.453 | 36 | 250 | 14 | 125 | -4.642
1038 | 132.245 | 35.821 | 49 | 249 | 15 | -108 | 4.129
87 | 135.16 | 34.932 | 48 | 250 | 16 | 843 | 7.044
295 | 137.285 | 43.154 | 38 | 251 | 17 | 635 | 9.169
605 | 130.819 | 43.493 | 29 | 255 | 18 | 325 | 2.703
865 | 123.461 | 37.006 | 39 | 247 | 19 | 65 | -4.655
1108 | 131.503 | 35.113 | 55 | 249 | 20 | -178 | 3.387
144 | 135.714 | 37.073 | 53 | 250 | 21 | 786 | 7.598
365 | 141.889 | 42.565 | 46 | 252 | 22 | 565 | 13.773
665 | 133.471 | 42.066 | 30 | 253 | 23 | 265 | 5.355
930 | 125.993 | 36.149 | 45 | 251 | 24 | 0 | -2.123
1178 | 135.3 | 35.224 | 56 | 251 | 25 | -248 | 7.184
211 | 134.376 | 37.667 | 47 | 251 | 26 | 719 | 6.26
450 | 135.005 | 43.589 | 39 | 254 | 27 | 480 | 6.889
THIS IS @930 BUT WITH DIFFERENT EQN |  |  |  | USING min 9 max264 AT 650; see [Final_Corrections]
930 | 126.651 | 35.721 | 44 | 253 | 5 | 0 | 0
1168 | 135.049 | 37.104 | 50 | 253 | 6 | -238 | 8.398
207 | 135.08 | 39.336 | 43 | 250 | 7 | 723 | 8.429
440 | 134.306 | 42.588 | 28 | 250 | 8 | 490 | 7.655
730 | 124.815 | 39.291 | 24 | 251 | 9 | 200 | -1.836
1010 | 131.411 | 32.041 | 55 | 250 | 10 | -80 | 4.76
1252 | 141.185 | 38.8 | 51 | 255 | 11 | -322 | 14.534
281 | 134.84 | 41.974 | 39 | 251 | 12 | 649 | 8.189
535 | 129.736 | 42.224 | 31 | 254 | 13 | 395 | 3.085
805 | 120.172 | 36.523 | 34 | 253 | 14 | 125 | -6.479
1038 | 129.88 | 34.013 | 46 | 250 | 15 | -108 | 3.229
87 | 129.283 | 34.313 | 48 | 245 | 16 | 843 | 2.632
295 | 131.82 | 42.712 | 31 | 250 | 17 | 635 | 5.169
605 | 124.643 | 42.07 | 23 | 253 | 18 | 325 | -2.008
865 | 121.319 | 34.778 | 39 | 253 | 19 | 65 | -5.332
1108 | 127.586 | 33.137 | 55 | 241 | 20 | -178 | 0.935
144 | 130.553 | 36.724 | 48 | 247 | 21 | 786 | 3.902
NEW 6 169 655 LIMIT @665
665 | 155.57 | 41.073 | 52 | 255 | 17 | 0 | 0
930 | 147.659 | 35.423 | 57 | 248 | 18 | -265 | -7.911
1168 | 154.642 | 38.397 | 60 | 255 | 19 | -503 | -0.928
207 | 163.329 | 42.508 | 58 | 253 | 20 | 458 | 7.759
440 | 167.003 | 45.315 | 58 | 254 | 21 | 225 | 11.433
730 | 157.72 | 39.481 | 62 | 251 | 22 | -65 | 2.15
1010 | 145.013 | 33.277 | 69 | 229 | 23 | -345 | -10.557
1252 | 154.06 | 37.571 | 60 | 244 | 24 | -587 | -1.51
281 | 163.926 | 42.417 | 60 | 249 | 25 | 384 | 8.356
535 | 162.205 | 45.456 | 53 | 255 | 26 | 130 | 6.635
805 | 146.323 | 39.797 | 51 | 254 | 27 | -140 | -9.247
1038 | 136.04 | 35.173 | 57 | 237 | 28 | -373 | -19.53
87 | 151.108 | 43.417 | 51 | 254 | 29 | 578 | -4.462
295 | 158.41 | 47.669 | 49 | 252 | 30 | 370 | 2.84
605 | 161.911 | 46.158 | 60 | 255 | 31 | 60 | 6.341
865 | 148.46 | 36.842 | 65 | 255 | 32 | -200 | -7.11
1108 | 144.788 | 37.204 | 58 | 243 | 33 | -443 | -10.782
144 | 163.248 | 46.857 | 56 | 255 | 34 | 521 | 7.678
365 | 170.628 | 49.538 | 56 | 255 | 35 | 300 | 15.058
665 | 154.027 | 44.675 | 40 | 255 | 36 | 0 | -1.543
930 | 144.784 | 35.725 | 61 | 246 | 37 | -265 | -10.786
1178 | 151.318 | 40.745 | 52 | 255 | 38 | -513 | -4.252
Measure below holding region constant with optimum 0.9 PSILIghtFactor at peak and measuring at standard positions from optimum.
Set up so that f3 at 665 face values matched luminosities pretty well. When ROI placed on center on F3, with a variable width and ht = 60 scrolledthrough nearby frames and recorded info using Ctrl-M or Analysis|Measure . Data then reduced by using the 665 as center and subtracting each frame from this position to observe variation. In principle this measures variation away from a center of the PSI. There are trends in the data that appear consistent from frame to frame and using a center as the base. The luminance tends to be positive away from center, suggesting an over-compensation of the PSI. However, the center values however, on successive slides are falling pretty much on each other, suggesting they are okay eak values appear to be close to expected. This suggests the PSI wings are not dropping off fast enough, or that the PSI valley regions need to have the high rgb values reduced. The luminance correction linear equations are too steep. IMPORTANT, THERE ARE CAMERA SHIFTS WHICH MAY ALTER THESE VALUES BY 5-15 UNITS, SO IT IS NOT EASY TO COMLETELY RELATE . THE FINAL DATA THAT DIRECTED THE LINEAR EQNS IS AT THE BOTTOM HERE.
Can get no better than this with equal numbers up and down . Also some variation is due to smearing of the values due to camer shake.

## 5760Centers
Slice, which is orig. slice #. Cntrs_stack2 number is n-1 of these #s | center | pma | Cntrs_slice2 index
2 | 1170 | 1183 | 1
3 | 154 | 1253 | 2
4 | 365 | 1253 | 3
5 | 665 | 1251 | 4
6 | 930 | 1251 | 5
7 | 1168 | 1251 | 6
8 | 207 | 1253 | 7
9 | 440 | 1253 | 8
10 | 730 | 1251 | 9
11 | 1010 | 1251 | 10
12 | 1252 | 1251 | 11
13 | 281 | 1253 | 12
14 | 535 | 1253 | 13
15 | 805 | 1251 | 14
16 | 1038 | 1251 | 15
17 | 87 | 1253 | 16
18 | 295 | 1253 | 17
19 | 605 | 1252 | 18
20 | 865 | 1251 | 19
21 | 1108 | 1252 | 20
22 | 144 | 1254 | 21
23 | 365 | 1254 | 22
24 | 665 | 1252 | 23
25 | 930 | 1252 | 24
26 | 1178 | 1252 | 25
27 | 211 | 1254 | 26
28 | 450 | 1254 | 27
29 | 735 | 1252 | 28
30 | 1015 | 1251 | 29
31 | 1252 | 1252 | 30
32 | 277 | 1251 | 31
33 | 535 | 1251 | 32
34 | 800 | 1251 | 33
35 | 1045 | 1251 | 34
36 | 91 | 1251 | 35
37 | 310 | 1251 | 36
38 | 620 | 1251 | 37
39 | 885 | 1251 | 38
40 | 1128 | 1251 | 39
41 | 167 | 1251 | 40
42 | 395 | 1251 | 41
43 | 685 | 1251 | 42
44 | 970 | 1251 | 43
45 | 1195 | 1251 | 44
46 | 241 | 1251 | 45
47 | 470 | 1251 | 46
48 | 750 | 1251 | 47